## Sheet1
Cations
| Calcium | mg/l
| Magnesium | mg/l
| Sodium | mg/l
| Potassium | mg/l
| Barium | mg/l
| Strontiium | mg/l
| Iron | mg/l
| Aluminum | mg/l
| Copper | mg/l
| Manganese | mg/l
Anions
| Bicarbonate | mg/l
| Sulfate | mg/l
| Chloride | mg/l
| Fluoride | mg/l
| Nitrate | mg/l
| Phosphate | mg/l
| Carbonate | mg/l
Other
| Silica | mg/l
| pH | units
| Feed Flow Rate | gpm
| Recovery | %
| Temperature | °C
| SDI | units
| Conductivity (umhos) | µmhos
| TOC | mg/l
Notes:
1. Include SDI if available from the site. Labs do not do SDIs.
2. Must have pH. Best if measured at site as water sample pH can change.
3. Only the dissolved metals are of interest, eg., dissolved iron, dissolved silica.
WATER ANALYSIS